## Lead Test Results
Water Testing Results - | Glendale Jr. High School
Action Level is 15 parts per billion (ppb)
Fixture Location/Description | Fixture ID # | Test Date | Test Result
Room J2 Sink-LFT | 20000201-CF001 | 2021-02-12 | ND
Room J2 Sink-RT | 20000201-CF002 | 2021-02-12 | ND
Boys Restroom Sink-LFT | 20000201-BF003 | 2021-02-12 | ND
Boys Restroom Sink-RT | 20000201-BF004 | 2021-02-12 | 1
Girls Restroom Sink-LFT | 20000201-BF005 | 2021-02-12 | 2
Girls Restroom Sink-RT | 20000201-BF006 | 2021-02-12 | ND
Main Hall Drinking Fountain | 20000201-DW007 | 2021-12-22 | 3
Any fixture testing at or above the action level of 15 ppb is IMMEDIATELY removed from service and cannot be returned to service until it has been remediated and passed follow-up testing
RETESTS
ND = Non Detect - Lead level is below the set detection limits |  |  | of X ppb